City of East Grand Rapids 2023

Water Quality Report

Prepared in conjunction with the City of Grand Rapids Water System

The City of East Grand Rapids Water System is proud to present our annual Water Quality Report. This report provides important information about your drinking water. We have continued to meet the challenge of providing safe, quality water which meets or exceeds the requirements set forth by the Environmental Protection Agency (EPA) and the Michigan Department of Environment, Great Lakes and Energy (EGLE).

Why do you get this report?

The Environmental Protection Agency (EPA) requires every community water supply throughout the United States to report specific details regarding water quality along with any contaminants which may be found in our tap water and source water. In order to ensure this information reaches all of our customers, the EPA requires this report be made available to each household and business we supply.

The City of East Grand Rapids Water System, in conjunction with the City of Grand Rapids, is committed to providing you with high quality water. We also understand that occasionally a concern may arise. At times water may appear cloudy or rusty, or may have an unusual odor. This change in water quality could be caused by various reasons including construction in the area, in-house water filtration, water system maintenance, recent plumbing work done in your home/business, or seasonal weather related changes.  These are just a few possibilities. Whatever the reason, we want to address those concerns, which may be conveyed by calling: the East Grand Rapids Department of Public Works-Operations Division at 616-940-4870.

Source water assessment:

Lake Michigan is the sole source of water treated for the Grand Rapids Water System. The City of East Grand Rapids purchases our drinking water from this system. This is considered a surface water source. The EGLE completed a Source Water Assessment for the City of Grand Rapids water supply in 2003. This report found that our water supply has a moderately high susceptibility to contaminants. Environment contamination is not likely to occur when potential contaminants are used and managed properly. The Grand Rapids Water Treatment Plant routinely and continuously monitors the water for a variety of chemicals to assure safe drinking water. The Grand Rapids Water System continues to be involved in and supports watershed protection efforts. If you would like information about the Source Water Assessment or have questions concerning the water quality testing results in this report, please contact: City of Grand Rapids Water System at 311, 616-456-3000 or water@grcity.us

Where does my drinking water come from? Treated water from Lake Michigan (a surface water source) is the sole source of drinking water in East Grand Rapids.  The City of Grand Rapids treats water at the Lake Michigan Filtration Plant and sends water to the City of East Grand Rapids as a wholesale customer.  The City of East Grand Rapids is responsible for the water distribution system within the City.

Water Quality Data of 2023 (Data Table-See Next Two Pages):

In order to ensure that tap water is safe to drink, the EPA has regulations which limit the amount of contaminants in water provided by public water systems. The table on the next page lists all of the drinking water contaminants that we detected during the calendar year of this report. Although many more contaminants were tested, only those substances listed below were found in your water. All sources of drinking water contain some naturally occurring contaminants. At low levels, these substances are generally not harmful in our drinking water. Removing all contaminants would be extremely expensive, and in most cases, would not provide increased protection of public health. A few naturally occurring minerals may actually improve the taste of drinking water and have nutritional value at low levels. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not vary significantly from year to year, or the system is not considered vulnerable to this type of contamination. As such, some of our data, though representative, may be more than one year old. In this table you will find terms and abbreviations that might not be familiar to you. To help you better understand these terms, we have provided the definitions.

| Contaminants | MCLG or MRDLG | MCL, TT, or MRDL | Detected In Your Water | Range |  | Sample Date | Violation | Typical Source |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Low | High |  |  |  |
| Disinfectants & Disinfection By-Products |  |  |  |  |  |  |  |  |
| There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |  |  |  |  |  |  |  |  |
| Chlorine [as Cl2] (ppm) | 4 | 4 | 1.08 | .72 | 1.38 | 2023 | No | Water additive used to control microbes |
| Haloacetic Acids Group [HAA5] (ppb) | N/A | 60 | 26.14 | 11.7 | 34.1 | 2023 | No | By-product of drinking water chlorination |
| Total Trihalomethanes [TTHMs] (ppb) | N/A | 80 | 36.24 | 23.6 | 37.7 | 2023 | No | By-product of drinking water chlorination |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |
| Fluoride (ppm) | 4 | 4 | 0.65 | N/A | N/A | 2023 | No | Erosion of natural deposits; water additive that promotes strong teeth; discharge from fertilizer and aluminum factories |
| Sodium (ppm) | N/A | N/A | 12 | N/A | N/A | 2023 | No | Erosion of natural deposits |
| Per- and Polyfluoroalkyl Substances (PFAS) |  |  |  |  |  |  |  |  |
| Perfluorooctane sulfonic acid [PFOS] (ppt) | N/A | 16 | 2.4 | 2.1 | 2.8 | 2023 | No | Firefighting foam; discharge from electroplating facilities; discharge and waste from industrial facilities |
| Radioactive Contaminants |  |  |  |  |  |  |  |  |
| Combined radium [226 & 228] (pCi/L) | zero | 5 | 0.94 | N/A | N/A | 2021 | No | Erosion of natural deposits |
| Unregulated Contaminants |  |  |  |  |  |  |  |  |
| Information collected through the monitoring of these contaminants/chemicals will help to ensure that future decisions on drinking water standards are based on sound science. |  |  |  |  |  |  |  |  |
| Brominated Haloacetic Acids Group [HAA6Br] (ppb) | N/A | MNR | 11.02 | 9.95 | 12.88 | 2019 | No | By-product of drinking water chlorination |
| Haloacetic Acids Group [HAA9] (ppb) | N/A | MNR | 34.95 | 31.73 | 38.34 | 2019 | No | By-product of drinking water chlorination |
| Manganese (ppb) | N/A | MNR | 0.446 | ND | 0.446 | 2019 | No | Naturally-occurring element; used in steel production, fertilizer, batteries and fireworks; essential nutrient |
| Microbiological Contaminants |  |  |  |  |  |  |  |  |
| Turbidity (NTU) | N/A | 0.3 | 100% | N/A | N/A | 2023 | No | Soil runoff |
| 100% of the samples were below the TT value of 0.3. A value less than 95% constitutes a TT violation. The highest single measurement was 0.110. Any measurement in excess of 1 is a violation unless otherwise approved by the state. |  |  |  |  |  |  |  |  |
| Contaminants | MCLG | AL | 90th Percentile | Range |  | Sample Date | # Samples Exceeding AL | Typical Source |
|  |  |  |  | Low | High |  |  |  |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |
| Copper [action level at consumer taps] (ppm) | 1.3 | 1.3 | 0.0 | ND | 0.1 | 2023 | 0 | Corrosion of household plumbing systems; erosion of natural deposits |
| Lead [action level at consumer taps] (ppb) | zero | 15 | 10 | ND | 14 | 2023 | 0 | Lead services lines, corrosion of household plumbing including fittings and fixtures; erosion of natural deposits |
| These 2023 sample results are from 30 homes selected as high risk for lead and copper contamination. |  |  |  |  |  |  |  |  |

| Contaminants | MCLG or MRDLG | MCL, TT, or MRDL | Detected In Your Water | Range |  | Sample Date | Violation | Typical Source |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Low | High |  |  |  |
| Additional Monitoring |  |  |  |  |  |  |  |  |
| Information collected through the monitoring of these contaminants/chemicals will help to ensure that future decisions on drinking water standards are based on sound science. |  |  |  |  |  |  |  |  |
| Arsenic (ppb) | zero | 10 | ND | N/A | N/A | 2022 | No | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Chromium-6 [hexavalent chromium] (ppb) | NA | MNR | ND | N/A | N/A | 2022 | No | Erosion of natural deposits; industrial contaminant |
| Cryptosporidium | zero | TT | ND | N/A | N/A | 2023 | No | Contaminated rivers and lakes |
| Giardia lamblia | zero | TT | ND | N/A | N/A | 2023 | No | Contaminated rivers and lakes |
| Mercury [inorganic] (ppb) | 2 | 2 | ND | N/A | N/A | 2022 | No | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| Hexafluoropropylene oxide dimer acid [HFPO-DA] (ppt) | N/A | 370 | ND | N/A | N/A | 2023 | No | Discharge and waste from industrial facilities utilizing the Gen X chemical process |
| Perfluorobutane sulfonic acid [PFBS] (ppt) | N/A | 420 | ND | N/A | N/A | 2023 | No | Discharge and waste from industrial facilities; stain-resistant treatments |
| Perfluorohexane sulfonic acid [PFHxS] (ppt) | N/A | 51 | ND | N/A | N/A | 2023 | No | Firefighting foam; discharge and waste from industrial facilities |
| Perfluorohexanoic acid [PFHxA] (ppt) | N/A | 400,000 | ND | N/A | N/A | 2023 | No | Firefighting foam; discharge and waste from industrial facilities |
| Perfluorononanoic acid[PFNA] (ppt) | N/A | 6 | ND | N/A | N/A | 2023 | No | Discharge and waste from industrial facilities; breakdown of precursor compounds |
| Perfluorooctanoic acid [PFOA] (ppt) | N/A | 8 | ND | N/A | N/A | 2023 | No | Discharge and waste from industrial facilities; stain-resistant treatments |

**Testing results for water treatment are completed by the City of Grand Rapids while distribution system testing results are completed by the City of East Grand Rapids**

Important Drinking Water Definitions and Units:

- 90th Percentile: The minimum level of contamination found in the highest 10 percent of samples collected.

- AL (Action Level): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that the water system must follow.

- MCL (Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water, MCLs are set as close to the MCLG as feasible using the best available treatment technology.

- MCLG (Maximum Contaminant Level Goal): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- MNR: Monitored Not Regulated.

- MRDL (Maximum Residual Disinfectant Level Goal): The highest level of disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- MRDLG (Maximum Residual Disinfectant Level Goal): The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfection to control microbial contaminants.

- NTU (Nephelometric Turbidity Units): Turbidity is a measure of the cloudiness of the water.  It is monitored because it is a good indicator of the effectiveness of the filtration system.

- NA: Not applicable

- ND: Not detected

- NR: Monitoring not required but recommended

- ppm (parts per million): Number of milligrams of substance in one liter if water

- ppb (parts per billion): Number of micrograms of substance in one liter of water

- ppt (parts per trillion): Number of nanograms of substance in one liter of water

- TT (Treatment Technique): A required process intended to reduce the level of a contaminant in drinking water

**Note: The data table contains the highest annual test results for all required and voluntary monitoring of regulated substances.  The City of East Grand Rapids in partnership with the City of Grand Rapids monitors many regulated and unregulated substances more frequently than required and, as a consequence, these results are included in the tables. In addition to the test results listed in the table, Grand Rapids also analyzed drinking water supplied for 103 different contaminants/chemicals in 2023; none of which were found at detectable levels. **

Is my water safe? Yes.  The City of East Grand Rapids, in conjunction with the City of Grand Rapids, meets or exceeds all of the requirements of the Safe Drinking Water Act (SDWA). This report is designed to provide details about where your water comes

from, what it contains and how it compares to standards set by regulatory agencies. This report is a snapshot of last year’s water quality.

Why are there contaminants in my drinking water?
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Contaminants that may be present in source water include all of the following:

Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health. More information about contaminants and potential health effects can be obtained by calling the United States EPA’s Safe Drinking Water Hotline: 800-426-4791.

Do I need to take special precautions?

The EPA sets legal limits and regulates the amount of contaminants allowed in drinking water provided by all public water systems. Sources of drinking water worldwide (both tap and bottled) may reasonably be expected to contain at least small amounts of some contaminants. Though contaminants are present it does not necessarily indicate that the water poses any kind of health risk. We treat our water according to EPA regulations.

While the EPA's health-based standards for drinking water are generally safe, some people may be more sensitive to contaminants in drinking water than the general population. Some infants, children or elderly, individuals who have undergone organ transplants, people with HIV/AIDS, persons receiving chemotherapy, or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers. The EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline: 800-426-4791.

Lead and Drinking Water:

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and internal plumbing in a home. The East Grand Rapids Water System is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. Water that has been sitting for several hours has the potential to pick up these contaminants. In order to minimize the potential exposure, you can flush the tap 30 seconds to 2 minutes before using water for drinking or cooking. If you have a lead service line, it is recommended that you run your water for at least 5 minutes to flush water from both your home plumbing and the lead service line.  If you are concerned about lead in your drinking water, you may wish to have your water tested.

Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline: 800-426-4791 or at http://www.epa.gov/safewater/lead

Infants and children who drink water containing lead could experience delays in their physical or mental development.  Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure.

The City of East Grand Rapids has 3,935 water services in the water distribution system.  Water services from the water main to the curb stop/shut off are owned/responsibility of the city.  Water service lines from the curb stop/shut off valve to the home are private and are the responsibility of the property owner.  Estimated numbers of service connections by service line materials are as follows:

Current 2024 Inventory Assessment:

- 3,935 total water service lines in the city

- 2,144 known

- 1,791 remain to physically verify (per the TMF LSLR grant for reimbursement period and going forward)

- 412 verified LSLs

- 1,146 assumed LSLs remain

- LSL breakdown: known full LSLs=37, plus known partial LSLs=375, plus presumed partial LSLs=937, plus presumed full LSLs=209, total LSLs=1,558

- LSL removals underway in FY 23/24, 200 per contract and DPW 20 =220

- From overall known and presumed of 1,558 minus 220 currently underway =1,338 potential LSLs

Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 1-800-426-4791 or their website at http://www.epa.gov/safewater/lead.  The City of Grand Rapids Water Plant (EGR’s source) implemented a corrosion control program in 1994 to reduce the amount of lead possibly leaching from household plumbing and is monitored following EPA guidelines.  The federal maximum limit for drinking water for lead is currently 15 parts per billion (ppb).

For additional resources regarding lead please call or visit the following:

Kent County Health Department:	616-632-6900

https://accesskent.com/health/lead/

More Information:

If you have any questions regarding your bill, please contact the City of East Grand Rapids Finance Department at 616-949-2110.  For questions regarding water leaks or water service-related issues, please contact the City of East Grand Rapids Department of Public Works-Operations Division at 616-940-4870.   For additional copies of this report, please contact the City of East Grand Rapids Department of Public Works-Administration at 616-940-4817 or in the lower level of City Hall at 750 Lakeside Dr.  The report is also posted online at: 2023-City-of-East-Grand-Rapids-Water-Quality-Report (eastgrmi.gov)